## Comparisons
Trade: | [7 empty] | +External Works | [8 empty] | Matched Description | Confidence | Matched Rate | Unit
Date: | [7 empty] | 28/05/2025 - 09:05
Current Project: | [7 empty] | 25005 - KYN Highgate
GA
Completion Total | [14 empty] | 0/112 Items
Bill Total | [14 empty] | 0
Lump Sums Total | [14 empty] | 0
Discount Total | [14 empty] | 0
Adjustment Total | [14 empty] | 0
Attendance Total | [14 empty] | 0
Gross Total (inc Disc, inc Adj, inc Att) | [14 empty] | 0
Provisional Total | [14 empty] | 0
Plugged Total | [14 empty] | 0
Subcontractor Note
Current Page Total | [14 empty] | 0
F | l | a | g | s | - | - | Bill | Section | Page | Ref | Original Ref | Description | Quantity | Unit | Rate | Extension
[7 empty] | 8 | 2 | 1 | A | 0 | 8.2 ROADS, PATHS, PAVINGS AND SURFACINGS 8.2 ROADS, PATHS, PAVINGS AND SURFACINGS The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available . To driveway, natural stone paving including decorative banding and metal edging Driveway paving type P1 / P1A Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 92 | m3 | 0
[7 empty] | 8 | 2 | 1 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 46 | m3 | 0
[7 empty] | 8 | 2 | 1 | C | 0 | Hydraulic bound course graded aggregate; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 39 | m3 | 0
[15 empty] | 8/2/1 | 0
[7 empty] | 8 | 2 | 2 | A | 0 | Q24 Interlocking brick/block roads/Pavings Stone drivesetts; manufacturer: Allgreen; mix of dark biege & biege; approx. size 150xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58/P 1 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 307 | m2 | 0
[7 empty] | 8 | 2 | 2 | B | 0 | 40mm thick; levels and to falls only; bedding thickness 50mm; laid over basement slab | 17 | m2 | 0
[7 empty] | 8 | 2 | 2 | C | 0 | Geotextile; manufacturer: Terram or similar approved; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Pr_25_57_65_60 Accessories separating membrane; thickness tbc | 920 | m2 | 0
[7 empty] | 8 | 2 | 2 | D | 0 | Driveway paving type P2 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 21 | m3 | 0
[15 empty] | 8/2/2 | 0
[7 empty] | 8 | 2 | 3 | A | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 11 | m3 | 0
[7 empty] | 8 | 2 | 3 | B | 0 | Hydraulic bound course graded aggregate; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 9 | m3 | 0
[7 empty] | 8 | 2 | 3 | C | 0 | Q24 Interlocking brick/block roads/Pavings Natural stone drivesetts; supplier: Allgreen; mix of dark biege & biege; approx. size 100xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58/P 2 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 67 | m2 | 0
[7 empty] | 8 | 2 | 3 | D | 0 | Geotextile; manufacturer: Terram or similar approved; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Pr_25_57_65_60 Accessories separating membrane; thickness tbc | 201 | m2 | 0
[15 empty] | 8/2/3 | 0
[7 empty] | 8 | 2 | 4 | A | 0 | Natural stone paving type P3 / P3A Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 19 | m3 | 0
[7 empty] | 8 | 2 | 4 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 16 | m3 | 0
[7 empty] | 8 | 2 | 4 | C | 0 | Q24 Interlocking brick/block roads/Pavings Natural stone paving; supplier: Allgreen; biege colour; size 600x400x30mm; including 30mm thick laying course, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 P3, P3a Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 64 | m2 | 0
[7 empty] | 8 | 2 | 4 | D | 0 | 40mm thick; levels and to falls only; bedding thickness 50mm; laid over basement | 55 | m2 | 0
[15 empty] | 8/2/4 | 0
[7 empty] | 8 | 2 | 5 | A | 0 | Rear driveway paving type P6 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 10 | m3 | 0
[7 empty] | 8 | 2 | 5 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 5 | m3 | 0
[7 empty] | 8 | 2 | 5 | C | 0 | Hydraulic bound course graded aggregate; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 4 | m3 | 0
[7 empty] | 8 | 2 | 5 | D | 0 | Q24 Interlocking brick/block roads/Pavings Stone drivesetts; manufacturer: Marshalls; autumn bronze colour, textured finish; size 210x110x50mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_57 P 6 Pavings 50-100mm thick; levels and to falls only; bedding thickness 50mm | 32 | m2 | 0
[15 empty] | 8/2/5 | 0
[7 empty] | 8 | 2 | 6 | A | 0 | Geotextile; manufacturer: Terram or similar approved; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Pr_25_57_65_60 Sheets horizontal; details tbc | 32 | m2 | 0
[7 empty] | 8 | 2 | 6 | B | 0 | Band type 1 / 1a Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B1; natural stone drivesetts banding - double stacked row; supplier: Allgreen; beige colour to match P1; size 150xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B1, B1a Pavings 40mm thick; levels and to falls only; bedding thickness 40mm | 62 | m2 | 0
[7 empty] | 8 | 2 | 6 | C | 0 | 40mm thick; levels and to falls only; bedding thickness 40mm; laid over basement | 4 | m2 | 0
[15 empty] | 8/2/6 | 0
[7 empty] | 8 | 2 | 7 | A | 0 | Band type 2 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B2; natural stone banding - quadruple stacked row; supplier: Allgreen; beige colour to match P1; size 150xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B2 Pavings 40mm thick; levels and to falls only; bedding thickness 40mm | 13 | m2 | 0
[7 empty] | 8 | 2 | 7 | B | 0 | Band type 6 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B6; biege natural drive setts bading - quadraple stacked row; supplier: Marshalls; autumn bronze colour; size 210x110x50mm; including 20-40mm thick sharp sand bedding, 5-10mm Mapei mortar joint, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_57 B 6 Pavings 40mm thick; levels and to falls only; bedding thickness 30mm | 2 | m2 | 0
[15 empty] | 8/2/7 | 0
[7 empty] | 8 | 2 | 8 | A | 0 | To rear garden terraces; limestone paving including metal edging Natural stone paving type P3 / P3A Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 73 | m3 | 0
[7 empty] | 8 | 2 | 8 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 61 | m3 | 0
[7 empty] | 8 | 2 | 8 | C | 0 | Q24 Interlocking brick/block roads/Pavings Natural stone paving; supplier: Allgreen; biege colour; size 600x400x30mm; including 30mm thick laying course, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 P3, P3a Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 243 | m2 | 0
[7 empty] | 8 | 2 | 8 | D | 0 | 40mm thick; levels and to falls only; bedding thickness 50mm; laid over basement | 41 | m2 | 0
[15 empty] | 8/2/8 | 0
[7 empty] | 8 | 2 | 9 | A | 0 | Natural stone paving type P7 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 9 | m3 | 0
[7 empty] | 8 | 2 | 9 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 9 | m3 | 0
[7 empty] | 8 | 2 | 9 | C | 0 | Q24 Interlocking brick/block roads/Pavings Porcelain paving; manufacturer: London stone; natural anti slip finish; approx. size 600x600x20mm; including 30mm thick laying course, 30mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_35_93_96_63 P 7 Pavings 25mm thick; levels and to falls only; bedding thickness 30mm | 29 | m2 | 0
[15 empty] | 8/2/9 | 0
[7 empty] | 8 | 2 | 10 | A | 1 | Band type 3 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B3; natural stone banding; supplier: Allgreen; biege colour; size 279x600x30mm; including 30mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B3, B3a Pavings 25mm thick; levels and to falls only; bedding thickness 30mm | 9 | m2 | 0
[7 empty] | 8 | 2 | 10 | B | 1 | Band type B3a; natural stone banding; supplier: Allgreen; biege colour; size 279x600x30mm; including 30mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B3, B3a Pavings 25mm thick; levels and to falls only; bedding thickness 30mm | 2 | m2 | 0
[7 empty] | 8 | 2 | 10 | C | 1 | Band type 4 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B4; natural stone banding; supplier: Allgreen; biege colour; size 150x400x30mm; including 30mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B4 Pavings 30mm thick; levels and to falls only; bedding thickness 30mm | 8 | m2 | 0
[15 empty] | 8/2/10 | 0
[7 empty] | 8 | 2 | 11 | A | 1 | Band type 5 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B5; natural stone banding; supplier: Allgreen; biege colour; size 150x600x40mm; including 50mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B5 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 11 | m2 | 0
[7 empty] | 8 | 2 | 11 | B | 1 | Feature herringbone paving Natural stone paving type P5 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 15 | m3 | 0
[7 empty] | 8 | 2 | 11 | C | 1 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 15 | m3 | 0
[15 empty] | 8/2/11 | 0
[7 empty] | 8 | 2 | 12 | A | 1 | Q24 Interlocking brick/block roads/Pavings Biege natural stone stacking; supplier: tbc; finish tbc; approx. size 200x50x40mm; including 50mm thick open graded crushed rock laying course and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B5 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 50 | m2 | 0
[7 empty] | 8 | 2 | 12 | B | 1 | Granite kerbs Q Paving/Planting/Fencing/Site furniture Q10 Kerbs/Edgings/Channels/Paving accessories Kerb type K1; natural stone kerb; supplier CED or similar approved; granite kerb; size 150x300x600mm; including 450x min 150mm haunch in concrete mix C16/20; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9025, 2337-S4-030-001, 002, 003, specification 2337-SP-001 clause Pr_25_93_45_56 K1 Kerbs 150x300x600mm | 143 | m | 0
[7 empty] | 8 | 2 | 12 | C | 1 | Kerb type K1a; natural stone kerb; supplier CED or similar approved; granite kerb; size 150x300x600mm; including 450x min 150mm haunch in concrete mix C16/20; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9025, 2337-S4-030-001, 002, 003, specification 2337-SP-001 clause Pr_25_93_45_56 K1a Kerbs 150x300x600mm | 7 | m | 0
[15 empty] | 8/2/12 | 0
[7 empty] | 8 | 2 | 13 | A | 1 | Kerb type K2; natural stone kerb; supplier CED or similar approved; granite kerb; size 150x300x600mm; including 450x min 150mm haunch in concrete mix C16/20; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9025, 2337-S4-030-001, 002, 003, specification 2337-SP-001 clause Pr_25_93_45_56 K2 Kerbs 150x300x600mm | 13 | m | 0
[7 empty] | 8 | 2 | 13 | B | 1 | Permeable Resin bound gravel; metal edging Resin bound gravel paving type P4 Q Paving/Planting/Fencing/Site furniture Q10 Kerbs/Edgings/Channels/Paving accessories Metal edging ME to pavement type P6; subpplier & finish tbc; including all necessary fittings & accessories required to complete the works; refer drawing 2337-S4-010-001, 002 & 2337-S4-030-003, specification 2337-SP-001 clause Pr_45_63_63_82 Filling to make up levels details tbc | 123 | m | 0
[7 empty] | 8 | 2 | 13 | C | 1 | Q20 Granular sub-bases to roads/ Pavings Type 1 sub base; including compaction & all necessary accessories to complete the works; manufacturer: TPG (Total Protection Group); refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Ss_30_14_02_70 P4 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 30 | m3 | 0
[15 empty] | 8/2/13 | 0
[7 empty] | 8 | 2 | 14 | A | 1 | Q23 Gravel/Hoggin/Woodchip roads/pavings DBM Binder course; including all associated accessories & works; manufacturer: TPG (Total Protection Group); refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Ss_30_14_02_70 P4 Pavings 50mm thick; levels and to falls only | 200 | m2 | 0
[7 empty] | 8 | 2 | 14 | B | 1 | DBM wearing course; including all associated accessories & works; manufacturer: TPG (Total Protection Group)B380 ; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002 Pavings 30mm thick; levels and to falls only | 200 | m2 | 0
[7 empty] | 8 | 2 | 14 | C | 1 | Resin bound gravel topping; including all associated accessories & works; manufacturer: TPG (Total Protection Group); refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002Ss_30_14_02_70 P4 Pavings 15mm thick; levels and to falls only | 200 | m2 | 0
[15 empty] | 8/2/14 | 0
[7 empty] | 8 | 2 | 15 | A | 1 | External stairs Stair S1 E In situ concrete/Large precast concrete E10 Mixing/Casting/Curing in situ concrete 200mm thick ground bearing slab; to base of external stair; including all accessories & fittings required to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Beds thickness 150 - 450mm | 2 | m3 | 0
[7 empty] | 8 | 2 | 15 | B | 1 | Formwork to paving; including all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Sides of ground beams and edges of beds plain vertical; height 250 - 500 mm | 4 | m | 0
[7 empty] | 8 | 2 | 15 | C | 1 | Steps in top surfaces plain vertical; height not exceeting 250 mm | 13 | m | 0
[7 empty] | 8 | 2 | 15 | D | 1 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; all in accordance ; drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Fabric A393 mesh reinforcement | 5 | m2 | 0
[7 empty] | 8 | 2 | 15 | E | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-004 Sheets horizontal; details tbc | 5 | m2 | 0
[15 empty] | 8/2/15 | 0
[7 empty] | 8 | 2 | 16 | A | 1 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ paving's Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 2 | m3 | 0
[7 empty] | 8 | 2 | 16 | B | 1 | Q24 Interlocking brick/block roads/Pavings Biege natural stone drivesetts; supplier: tbc; finish tbc; approx. size 150xrandomx50-100mm; including 30mm thick mortar bedding and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Treads 350mm wide, additional 55mm overhang with half bullnose edge and 5mm drip line; 40mm thick pver | 13 | m | 0
[7 empty] | 8 | 2 | 16 | C | 1 | Risers 148mm high; 30mm thick pver | 13 | m | 0
[7 empty] | 8 | 2 | 16 | D | 1 | Stair S2 E In situ concrete/Large precast concrete E10 Mixing/Casting/Curing in situ concrete 200mm thick ground bearing slab; to base of external stair; including all accessories & fittings required to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Beds thickness 150 - 450mm | 2 | m3 | 0
[15 empty] | 8/2/16 | 0
[7 empty] | 8 | 2 | 17 | A | 1 | Formwork to paving; including all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Sides of ground beams and edges of beds plain vertical; height 250 - 500 mm | 8 | m | 0
[7 empty] | 8 | 2 | 17 | B | 1 | Steps in top surfaces plain vertical; height 250 - 500 mm | 19 | m | 0
[7 empty] | 8 | 2 | 17 | C | 1 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; all in accordance ; drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Fabric A393 mesh reinforcement | 8 | m2 | 0
[7 empty] | 8 | 2 | 17 | D | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-004 Sheets horizontal; details tbc | 8 | m2 | 0
[7 empty] | 8 | 2 | 17 | E | 1 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ paving's Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 3 | m3 | 0
[15 empty] | 8/2/17 | 0
[7 empty] | 8 | 2 | 18 | A | 1 | Q24 Interlocking brick/block roads/Pavings Biege natural stone drivesetts; supplier: tbc; finish tbc; approx. size 150xrandomx50-100mm; including 30mm thick mortar bedding and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Pavings 40mm thick; levels and to falls only; bedding thickness 30mm; to mid landing | 2 | m2 | 0
[7 empty] | 8 | 2 | 18 | B | 1 | Treads 250mm wide, additional 55mm overhang with half bullnose edge and 5mm drip line; 40mm thick pver | 20 | m | 0
[7 empty] | 8 | 2 | 18 | C | 1 | Risers 172mm high; 30mm thick pver | 19 | m | 0
[7 empty] | 8 | 2 | 18 | D | 1 | Any other item not specified in CSA E In situ concrete/Large precast concrete E10 Mixing/Casting/Curing in situ concrete 200mm thick ground bearing slab; to base of external stair; including all accessories & fittings required to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Beds thickness 150 - 450mm | 4 | m3 | 0
[7 empty] | 8 | 2 | 18 | E | 1 | Formwork to paving; including all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Sides of ground beams and edges of beds plain vertical; height not exceeding 250mm | 17 | m | 0
[15 empty] | 8/2/18 | 0
[7 empty] | 8 | 2 | 19 | A | 1 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; all in accordance ; drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Fabric A252 mesh reinforcement | 17 | m2 | 0
[7 empty] | 8 | 2 | 19 | B | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-004 Sheets horizontal; details tbc | 17 | m2 | 0
[7 empty] | 8 | 2 | 19 | C | 1 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ paving's Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 6 | m3 | 0
[7 empty] | 8 | 2 | 19 | D | 1 | General pricing point allow for pavement type S7, proposed block paving - non vehicular; as per drawing no. KYN-CSP-NB-XX-DR-C-9024 | 1 | ITEM | 0
[7 empty] | 8 | 2 | 19 | E | 1 | allow for front signage | 1 | ITEM | 0
[15 empty] | 8/2/19 | 0
[7 empty] | 8 | 2 | 20 | A | 2 | S278 Works The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available . Footway crossover construction P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; Terram 1000; including laying, lapping and all necessary accessories to complete the works; refer drawing 3639.16A Sheets horizontal; details tbc | 10 | m2 | 0
[7 empty] | 8 | 2 | 20 | B | 2 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Granular sub base type 1 to MCHW clause 803; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Filling to make up levels average thickness exceeding 250mm; obtained off site | 2 | m3 | 0
[7 empty] | 8 | 2 | 20 | C | 2 | Q21 In situ concrete roads/pavings Class C 16/20 (ST4 concrete; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Concrete thickness not exceeding 150mm | 2 | m3 | 0
[15 empty] | 8/2/20 | 0
[7 empty] | 8 | 2 | 21 | A | 2 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Fabric A393 mesh reinforcement | 10 | m2 | 0
[7 empty] | 8 | 2 | 21 | B | 2 | Q22 Coated macadam/Asphalt roads/pavings AC20 dense bin 40/60 WTR 2 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 60mm thick | 10 | m2 | 0
[7 empty] | 8 | 2 | 21 | C | 2 | AC10 close surf 100/150 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 40mm thick | 10 | m2 | 0
[7 empty] | 8 | 2 | 21 | D | 2 | Footway resurfacing Q Paving/Planting/Fencing/Site furniture Q22 Coated macadam/Asphalt roads/pavings AC6 dense surf 100/150 to EN 13108-1; top 25mm to be planed off; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 25mm thick | 174 | m2 | 0
[15 empty] | 8/2/21 | 0
[7 empty] | 8 | 2 | 22 | A | 2 | Carriageway resurfacing P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; Terram 1000; including laying, lapping and all necessary accessories to complete the works; refer drawing 3639.16A Sheets horizontal; details tbc | 16 | m2 | 0
[7 empty] | 8 | 2 | 22 | B | 2 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Granular sub base type 1 to MCHW clause 803; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Filling to make up levels average thickness exceeding 250mm; obtained off site | 3 | m3 | 0
[7 empty] | 8 | 2 | 22 | C | 2 | Q22 Coated macadam/Asphalt roads/pavings AC20 dense bin 40/60 WTR 2 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 60mm thick | 16 | m2 | 0
[7 empty] | 8 | 2 | 22 | D | 2 | AC10 close surf 100/150 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 40mm thick | 16 | m2 | 0
[15 empty] | 8/2/22 | 0
[7 empty] | 8 | 2 | 23 | A | 2 | Kerbs Q Paving/Planting/Fencing/Site furniture Q10 Kerbs/Edgings/Channels/Paving accessories Quandrant kerb type Q1; size 305x255mm; including bedding and haunch size 455x300mm; including all associated works & accessories; refer drawing 3639.16A Kerbs size 305x255mm | 1 | m | 0
[7 empty] | 8 | 2 | 23 | B | 2 | Kerb BN25; size 125x255x914mm; laid with 25mm upstand including bedding and haunch ; including all associated works & accessories; refer drawing 3639.22 Kerbs 125x255x914mm | 6 | m | 0
[7 empty] | 8 | 2 | 23 | C | 2 | Kerb type DL; details tbc; laid with 25mm upstand including bedding and haunch ; including all associated works & accessories; refer drawing 3639.22 Kerbs size tbc; type DL | 1 | m | 0
[7 empty] | 8 | 2 | 23 | D | 2 | size tbc; type DR | 1 | m | 0
[7 empty] | 8 | 2 | 23 | E | 2 | Kerb type DR; details tbc; laid with 25mm upstand including bedding and haunch ; including all associated works & accessories; refer drawing 3639.22 Kerbs size tbc; type EF | 6 | m | 0
[7 empty] | 8 | 2 | 23 | F | 2 | General pricing point allow for existing verge made good | 6 | m2 | 0
[15 empty] | 8/2/23 | 0
[7 empty] | 8 | 2 | 24 | A | 2 | General pricing point allow for residential specificattion carriageway construction | 8 | m2 | 0
[7 empty] | 8 | 2 | 24 | B | 2 | Relocation for "Courtenay Avenue" road name signboard | 1 | nr | 0
[7 empty] | 8 | 2 | 24 | C | 2 | Relocation for "Private Road" road name signboard | 1 | nr | 0
[7 empty] | 8 | 2 | 24 | D | 2 | allow for vertical saw cut to existing carriage wa y | 28 | m | 0
[7 empty] | 8 | 2 | 24 | E | 2 | allow for vertical saw cut to existing foot way | 14 | m | 0
[7 empty] | 8 | 2 | 24 | F | 2 | allow for stripping off existing carriage way | 16 | m2 | 0
[7 empty] | 8 | 2 | 24 | G | 2 | allow for stripping off existing footway | 179 | m2 | 0
[15 empty] | 8/2/24 | 0
[7 empty] | 8 | 3 | 1 | A | 0 | 8.3 SOFT LANDSCAPING 8.3 SOFT LANDSCAPING The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available . Imported topsoil; laying and spreading D Groundwork D20 Excavating and filling Topsoil; filling topsoil system; all in accordance with drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006, specification 2337-SP-004 clause Ss_15_10_30_90 Filling to make up levels average thickness exceeding 0.25m; obtained offsit e | 370 | m3 | 0
[7 empty] | 8 | 3 | 1 | B | 0 | Surface treatments compacting; filling | 641 | m2 | 0
[7 empty] | 8 | 3 | 1 | C | 0 | Tree sand; sll in accordance with drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006, 2337-S4-030-008 Filling to make up levels average thickness exceeding 0.25m; obtained offsit e | 22 | m3 | 0
[7 empty] | 8 | 3 | 1 | D | 0 | Surface treatments compacting; filling | 22 | m2 | 0
[15 empty] | 8/3/1 | 0
[7 empty] | 8 | 3 | 9 | F | 0 | Feature raised planters Q Paving/Planting/Fencing/Site furniture Q31 External Planting Raised planter type 3A; bspoke corten metal retaining edge to manufacturer's detail; including concrete foundation, earthwork, geotextile around foundation and all accessories required to complete the works; refer drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006 Plant containers planter height 400mm high above sooil level | 14 | m | 0
[15 empty] | 8/3/9 | 0
[7 empty] | 8 | 3 | 10 | A | 1 | Raised planter type 3B; bspoke corten metal retaining edge to manufacturer's detail; including concrete foundation, earthwork, geotextile around foundation and all accessories required to complete the works; refer drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006 Plant containers planter height 600mm high above sooil level | 11 | m | 0
[7 empty] | 8 | 3 | 10 | B | 1 | Planters D Groundwork D20 Excavating and filling Topsoil; filling topsoil system; all in accordance with drawing no. 2337-S4-030-007 Filling to make up levels average thickness exceeding 0.25m; obtained offsit e | 5 | m3 | 0
[7 empty] | 8 | 3 | 10 | C | 1 | Leca drainage layer; all in accordance with drawing no. 2337-S4-030-007 Filling to make up levels average thickness not exceeding 0.25m; obtained offsite | 2 | m3 | 0
[7 empty] | 8 | 3 | 10 | D | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile filter membrane; including all associated works as per drawing no. 2337-S4-030-007 Sheets plain areas; horizontal | 27 | m2 | 0
[7 empty] | 8 | 3 | 10 | E | 1 | plain areas; vertical | 33 | m2 | 0
[15 empty] | 8/3/10 | 0
[7 empty] | 8 | 3 | 11 | A | 1 | Q Paving/Planting/Fencing/Site furniture Q31 External Planting Planter pots of varying sizes and type; including irrigation & drainage outlet at base; details tbc; including soil fill, geotextile membrane, Leca drainage layer at base and all other accessories required to complete the works; refer drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006 Plant containers type E3c; dia 920mm, height 690mm | 2 | nr | 0
[7 empty] | 8 | 3 | 11 | B | 1 | type 3f, pot on wheel; dia 1000mm, height tbc | 3 | nr | 0
[7 empty] | 8 | 3 | 11 | C | 1 | type 3g; size 400x400mm, height tbc | 3 | nr | 0
[7 empty] | 8 | 3 | 11 | D | 1 | type 3h; size 700x700mm, height tbc | 3 | nr | 0
[7 empty] | 8 | 3 | 11 | E | 1 | type 3i; size 2580x470mm, height tbc | 1 | nr | 0
[7 empty] | 8 | 3 | 11 | F | 1 | type 3i; size 3500x475mm, height tbc | 1 | nr | 0
[7 empty] | 8 | 3 | 11 | G | 1 | type 3j; size 500x500mm, height tbc | 4 | nr | 0
[7 empty] | 8 | 3 | 11 | H | 1 | type 3k; size 975x400mm, height tbc | 1 | nr | 0
[15 empty] | 8/3/11 | 0

## Lump Sums
Lump Sums
Contact
GA | Name | Quantity | Unit | Rate | Total | Matched Description | Confidence

## Attendances & Adjustments
|  | Matched Description | Confidence | Matched Rate | Unit
Adjustments
GA
Adjustment | 0%
Allowance | 0%
Attendances
GA
Attendance | 0

## Subcontractor Notes
Trade: | [7 empty] | +External Works | [7 empty] | Matched Description | Confidence | Matched Rate | Unit
Date: | [7 empty] | 28/05/2025 - 09:05
Current Project: | [7 empty] | 25005 - KYN Highgate
GA
Subcontractor Note
F | l | a | g | s | - | - | Bill | Section | Page | Ref | Original Ref | Description | Quantity | Unit | Rate Note
[7 empty] | 8 | 2 | 1 | A | 0 | 8.2 ROADS, PATHS, PAVINGS AND SURFACINGS 8.2 ROADS, PATHS, PAVINGS AND SURFACINGS The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available . To driveway, natural stone paving including decorative banding and metal edging Driveway paving type P1 / P1A Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 92 | m3 |  | B/O extg paving, exc & C/A. Reinstate 150mm type 1 sub-base & 150mm DBM footpath | 53 | 75.5
[7 empty] | 8 | 2 | 1 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 46 | m3 |  | 750mm dia CFA pile; 20m lg (bore, conc, rebar, test, de-bond, move rig, mod & demob, design), C/A, attendnce | 50 | 3528.02
[7 empty] | 8 | 2 | 1 | C | 0 | Hydraulic bound course graded aggregate; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 39 | m3 |  | Sealing penetrations through secant piled wall; hydrophilic waterstop plus hydrophilic compound fillet; 250mm dia | 49 | 88.4
[7 empty] | 8 | 2 | 2 | A | 0 | Q24 Interlocking brick/block roads/Pavings Stone drivesetts; manufacturer: Allgreen; mix of dark biege & biege; approx. size 150xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58/P 1 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 307 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 54 | 56.22
[7 empty] | 8 | 2 | 2 | B | 0 | 40mm thick; levels and to falls only; bedding thickness 50mm; laid over basement slab | 17 | m2 |  | Edging; flat top; 50 x 200; concrete bed & haunch; radius | 50 | 30.79
[7 empty] | 8 | 2 | 2 | C | 0 | Geotextile; manufacturer: Terram or similar approved; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Pr_25_57_65_60 Accessories separating membrane; thickness tbc | 920 | m2 |  | Treetex T300 geotextile membrane | 47 | 2.59
[7 empty] | 8 | 2 | 2 | D | 0 | Driveway paving type P2 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 21 | m3 |  | Granite paving; 250 x 150 x 60; on 50mm sand bed; free issue paving | 53 | 20.38
[7 empty] | 8 | 2 | 3 | A | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 11 | m3 |  | 750mm dia CFA pile; 20m lg (bore, conc, rebar, test, de-bond, move rig, mod & demob, design), C/A, attendnce | 50 | 3528.02
[7 empty] | 8 | 2 | 3 | B | 0 | Hydraulic bound course graded aggregate; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 9 | m3 |  | Sealing penetrations through secant piled wall; hydrophilic waterstop plus hydrophilic compound fillet; 250mm dia | 49 | 88.4
[7 empty] | 8 | 2 | 3 | C | 0 | Q24 Interlocking brick/block roads/Pavings Natural stone drivesetts; supplier: Allgreen; mix of dark biege & biege; approx. size 100xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58/P 2 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 67 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 53 | 56.22
[7 empty] | 8 | 2 | 3 | D | 0 | Geotextile; manufacturer: Terram or similar approved; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Pr_25_57_65_60 Accessories separating membrane; thickness tbc | 201 | m2 |  | Treetex T300 geotextile membrane | 47 | 2.59
[7 empty] | 8 | 2 | 4 | A | 0 | Natural stone paving type P3 / P3A Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 19 | m3 |  | Grasscrete GC3 cellular paving; 76mm thk inc topsoil and grass seed; on 50mm sand bed | 53 | 50.1
[7 empty] | 8 | 2 | 4 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 16 | m3 |  | 750mm dia CFA pile; 20m lg (bore, conc, rebar, test, de-bond, move rig, mod & demob, design), C/A, attendnce | 50 | 3528.02
[7 empty] | 8 | 2 | 4 | C | 0 | Q24 Interlocking brick/block roads/Pavings Natural stone paving; supplier: Allgreen; biege colour; size 600x400x30mm; including 30mm thick laying course, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 P3, P3a Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 64 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 57 | 56.22
[7 empty] | 8 | 2 | 4 | D | 0 | 40mm thick; levels and to falls only; bedding thickness 50mm; laid over basement | 55 | m2 |  | Edging; flat top; 50 x 200; concrete bed & haunch; radius | 49 | 30.79
[7 empty] | 8 | 2 | 5 | A | 0 | Rear driveway paving type P6 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 10 | m3 |  | B/O extg pavement, exc & C/A. Reinstate 150mm type 1 sub-base & 150mm DBM comprising 30mm surface, 40mm binder & 80mm base | 53 | 76.21
[7 empty] | 8 | 2 | 5 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 5 | m3 |  | 750mm dia CFA pile; 20m lg (bore, conc, rebar, test, de-bond, move rig, mod & demob, design), C/A, attendnce | 50 | 3528.02
[7 empty] | 8 | 2 | 5 | C | 0 | Hydraulic bound course graded aggregate; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 4 | m3 |  | Sealing penetrations through secant piled wall; hydrophilic waterstop plus hydrophilic compound fillet; 250mm dia | 49 | 88.4
[7 empty] | 8 | 2 | 5 | D | 0 | Q24 Interlocking brick/block roads/Pavings Stone drivesetts; manufacturer: Marshalls; autumn bronze colour, textured finish; size 210x110x50mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_57 P 6 Pavings 50-100mm thick; levels and to falls only; bedding thickness 50mm | 32 | m2 |  | Marshalls Brackendale sandstone pavings; 900 x 600 x 65; sdawn finish; on 50mm mortar bed with 6-8mm pointing in Parex Grantech mortar | 58 | 157.77
[7 empty] | 8 | 2 | 6 | A | 0 | Geotextile; manufacturer: Terram or similar approved; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Pr_25_57_65_60 Sheets horizontal; details tbc | 32 | m2 |  | E'grid 3030L geotextile | 46 | 3.96
[7 empty] | 8 | 2 | 6 | B | 0 | Band type 1 / 1a Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B1; natural stone drivesetts banding - double stacked row; supplier: Allgreen; beige colour to match P1; size 150xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B1, B1a Pavings 40mm thick; levels and to falls only; bedding thickness 40mm | 62 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 60 | 56.22
[7 empty] | 8 | 2 | 6 | C | 0 | 40mm thick; levels and to falls only; bedding thickness 40mm; laid over basement | 4 | m2 |  | Concrete bed; 400thk C40; 2 layers A252; 150thk 6F2; exc & c/a; B/O & dispose on completion | 47 | 210.95
[7 empty] | 8 | 2 | 7 | A | 0 | Band type 2 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B2; natural stone banding - quadruple stacked row; supplier: Allgreen; beige colour to match P1; size 150xrandomx40mm; including 40mm thick sharp sand bedding, 5-10mm Mapei mortar joint, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B2 Pavings 40mm thick; levels and to falls only; bedding thickness 40mm | 13 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 61 | 56.22
[7 empty] | 8 | 2 | 7 | B | 0 | Band type 6 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B6; biege natural drive setts bading - quadraple stacked row; supplier: Marshalls; autumn bronze colour; size 210x110x50mm; including 20-40mm thick sharp sand bedding, 5-10mm Mapei mortar joint, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_57 B 6 Pavings 40mm thick; levels and to falls only; bedding thickness 30mm | 2 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 57 | 56.22
[7 empty] | 8 | 2 | 8 | A | 0 | To rear garden terraces; limestone paving including metal edging Natural stone paving type P3 / P3A Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 73 | m3 |  | 50/50 paving; comprising alternative courses of Clay paviour; Hardscape; 48 x 200 x 85; on sand bed & pointing & Murarosy 50mm plastic spacers; (gaps filled with topsoil and grass seed by others) | 52 | 65.46
[7 empty] | 8 | 2 | 8 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 61 | m3 |  | 750mm dia CFA pile; 20m lg (bore, conc, rebar, test, de-bond, move rig, mod & demob, design), C/A, attendnce | 50 | 3528.02
[7 empty] | 8 | 2 | 8 | C | 0 | Q24 Interlocking brick/block roads/Pavings Natural stone paving; supplier: Allgreen; biege colour; size 600x400x30mm; including 30mm thick laying course, 5-10mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 P3, P3a Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 243 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 57 | 56.22
[7 empty] | 8 | 2 | 8 | D | 0 | 40mm thick; levels and to falls only; bedding thickness 50mm; laid over basement | 41 | m2 |  | Edging; flat top; 50 x 200; concrete bed & haunch; radius | 49 | 30.79
[7 empty] | 8 | 2 | 9 | A | 0 | Natural stone paving type P7 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 9 | m3 |  | Granite paving; 250 x 150 x 60; on 50mm sand bed; free issue paving | 53 | 20.38
[7 empty] | 8 | 2 | 9 | B | 0 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 9 | m3 |  | 750mm dia CFA pile; 20m lg (bore, conc, rebar, test, de-bond, move rig, mod & demob, design), C/A, attendnce | 50 | 3528.02
[7 empty] | 8 | 2 | 9 | C | 0 | Q24 Interlocking brick/block roads/Pavings Porcelain paving; manufacturer: London stone; natural anti slip finish; approx. size 600x600x20mm; including 30mm thick laying course, 30mm Mapei mortar joint and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_35_93_96_63 P 7 Pavings 25mm thick; levels and to falls only; bedding thickness 30mm | 29 | m2 |  | Primaporcelain porcelain tile paving; 600 x 600 x 20mm thk; colour mix; supported on Ryno class A1 steel pedestals | 56 | 108.32
[7 empty] | 8 | 2 | 10 | A | 1 | Band type 3 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B3; natural stone banding; supplier: Allgreen; biege colour; size 279x600x30mm; including 30mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B3, B3a Pavings 25mm thick; levels and to falls only; bedding thickness 30mm | 9 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 60 | 56.22
[7 empty] | 8 | 2 | 10 | B | 1 | Band type B3a; natural stone banding; supplier: Allgreen; biege colour; size 279x600x30mm; including 30mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B3, B3a Pavings 25mm thick; levels and to falls only; bedding thickness 30mm | 2 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 58 | 56.22
[7 empty] | 8 | 2 | 10 | C | 1 | Band type 4 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B4; natural stone banding; supplier: Allgreen; biege colour; size 150x400x30mm; including 30mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B4 Pavings 30mm thick; levels and to falls only; bedding thickness 30mm | 8 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 63 | 56.22
[7 empty] | 8 | 2 | 11 | A | 1 | Band type 5 Q Paving/Planting/Fencing/Site furniture Q24 Interlocking brick/block roads/pavings Band type B5; natural stone banding; supplier: Allgreen; biege colour; size 150x600x40mm; including 50mm thick laying course, haunch and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B5 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 11 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 61 | 56.22
[7 empty] | 8 | 2 | 11 | B | 1 | Feature herringbone paving Natural stone paving type P5 Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Class 6F1, 6F2 or 6F3 capping layer for CBR<2%; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 15 | m3 |  | Granite paving; 250 x 150 x 60; on 50mm sand bed; free issue paving | 52 | 20.38
[7 empty] | 8 | 2 | 11 | C | 1 | 20mm open graded crushed rock sub base; including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 15 | m3 |  | 750mm dia CFA pile; 20m lg (bore, conc, rebar, test, de-bond, move rig, mod & demob, design), C/A, attendnce | 50 | 3528.02
[7 empty] | 8 | 2 | 12 | A | 1 | Q24 Interlocking brick/block roads/Pavings Biege natural stone stacking; supplier: tbc; finish tbc; approx. size 200x50x40mm; including 50mm thick open graded crushed rock laying course and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Pr_25_93_60_58 B5 Pavings 40mm thick; levels and to falls only; bedding thickness 50mm | 50 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 55 | 56.22
[7 empty] | 8 | 2 | 12 | B | 1 | Granite kerbs Q Paving/Planting/Fencing/Site furniture Q10 Kerbs/Edgings/Channels/Paving accessories Kerb type K1; natural stone kerb; supplier CED or similar approved; granite kerb; size 150x300x600mm; including 450x min 150mm haunch in concrete mix C16/20; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9025, 2337-S4-030-001, 002, 003, specification 2337-SP-001 clause Pr_25_93_45_56 K1 Kerbs 150x300x600mm | 143 | m |  | Granite kerb; 125 x 250; concrete bed & haunch; radius; free issue kerb | 64 | 46.07
[7 empty] | 8 | 2 | 12 | C | 1 | Kerb type K1a; natural stone kerb; supplier CED or similar approved; granite kerb; size 150x300x600mm; including 450x min 150mm haunch in concrete mix C16/20; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9025, 2337-S4-030-001, 002, 003, specification 2337-SP-001 clause Pr_25_93_45_56 K1a Kerbs 150x300x600mm | 7 | m |  | Granite kerb; 125 x 250; concrete bed & haunch; radius; free issue kerb | 63 | 46.07
[7 empty] | 8 | 2 | 13 | A | 1 | Kerb type K2; natural stone kerb; supplier CED or similar approved; granite kerb; size 150x300x600mm; including 450x min 150mm haunch in concrete mix C16/20; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9025, 2337-S4-030-001, 002, 003, specification 2337-SP-001 clause Pr_25_93_45_56 K2 Kerbs 150x300x600mm | 13 | m |  | Granite kerb; 125 x 250; concrete bed & haunch; radius; free issue kerb | 64 | 46.07
[7 empty] | 8 | 2 | 13 | B | 1 | Permeable Resin bound gravel; metal edging Resin bound gravel paving type P4 Q Paving/Planting/Fencing/Site furniture Q10 Kerbs/Edgings/Channels/Paving accessories Metal edging ME to pavement type P6; subpplier & finish tbc; including all necessary fittings & accessories required to complete the works; refer drawing 2337-S4-010-001, 002 & 2337-S4-030-003, specification 2337-SP-001 clause Pr_45_63_63_82 Filling to make up levels details tbc | 123 | m |  | Resin bound gravel; 16mm thk Addagrip Addaset; 6mm aggregate; to ramps (laid on asphalt) | 56 | 43.63
[7 empty] | 8 | 2 | 13 | C | 1 | Q20 Granular sub-bases to roads/ Pavings Type 1 sub base; including compaction & all necessary accessories to complete the works; manufacturer: TPG (Total Protection Group); refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, specification 2337-SP-001 clause Ss_30_14_02_70 P4 Filling to make up levels average thickness not exceeding 250mm; obtained off site | 30 | m3 |  | B/O extg pavement, exc & C/A. Reinstate 150mm type 1 sub-base & 150mm DBM comprising 30mm surface, 40mm binder & 80mm base | 54 | 76.21
[7 empty] | 8 | 2 | 14 | A | 1 | Q23 Gravel/Hoggin/Woodchip roads/pavings DBM Binder course; including all associated accessories & works; manufacturer: TPG (Total Protection Group); refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, specification 2337-SP-001 clause Ss_30_14_02_70 P4 Pavings 50mm thick; levels and to falls only | 200 | m2 |  | Composite temporary road surfacing comprising 90mm AC32 base course, 60mm AC20 binder course; (no wearing course) | 53 | 34
[7 empty] | 8 | 2 | 14 | B | 1 | DBM wearing course; including all associated accessories & works; manufacturer: TPG (Total Protection Group)B380 ; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002 Pavings 30mm thick; levels and to falls only | 200 | m2 |  | DBM wearing course (surface course AC10); 30mm thk | 50 | 13.13
[7 empty] | 8 | 2 | 14 | C | 1 | Resin bound gravel topping; including all associated accessories & works; manufacturer: TPG (Total Protection Group); refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002Ss_30_14_02_70 P4 Pavings 15mm thick; levels and to falls only | 200 | m2 |  | Resin bound gravel; 16mm thk Addagrip Addaset; 6mm aggregate; to ramps (laid on asphalt) | 58 | 43.63
[7 empty] | 8 | 2 | 15 | A | 1 | External stairs Stair S1 E In situ concrete/Large precast concrete E10 Mixing/Casting/Curing in situ concrete 200mm thick ground bearing slab; to base of external stair; including all accessories & fittings required to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Beds thickness 150 - 450mm | 2 | m3 |  | In-situ concrete stairs; metal formers; ne 1.70m wide; rate per tread & 169mm riser | 53 | 243.19
[7 empty] | 8 | 2 | 15 | B | 1 | Formwork to paving; including all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Sides of ground beams and edges of beds plain vertical; height 250 - 500 mm | 4 | m |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 48 | 56.22
[7 empty] | 8 | 2 | 15 | C | 1 | Steps in top surfaces plain vertical; height not exceeting 250 mm | 13 | m |  | Risers / Step in top surface; 250-500 | 51 | 31.32
[7 empty] | 8 | 2 | 15 | D | 1 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; all in accordance ; drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Fabric A393 mesh reinforcement | 5 | m2 |  | Mesh reinforcement; A393 | 54 | 18.91
[7 empty] | 8 | 2 | 15 | E | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-004 Sheets horizontal; details tbc | 5 | m2 |  | Sub station louvred ventilation panel; powder coated finish; 1585 x 975; by Sunray Engineering | 43 | 2319.7
[7 empty] | 8 | 2 | 16 | A | 1 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ paving's Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 2 | m3 |  | Granite paving; 250 x 150 x 60; on 50mm sand bed; free issue paving | 51 | 20.38
[7 empty] | 8 | 2 | 16 | B | 1 | Q24 Interlocking brick/block roads/Pavings Biege natural stone drivesetts; supplier: tbc; finish tbc; approx. size 150xrandomx50-100mm; including 30mm thick mortar bedding and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Treads 350mm wide, additional 55mm overhang with half bullnose edge and 5mm drip line; 40mm thick pver | 13 | m |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 57 | 56.22
[7 empty] | 8 | 2 | 16 | C | 1 | Risers 148mm high; 30mm thick pver | 13 | m |  | Cast in GRP mesh grid flooring to service riser openings; 38mm thick; spans ne 1.5m including angle all round (NHBC spec); large openings 1500 x 1000 (1.50m2) | 51 | 215.26
[7 empty] | 8 | 2 | 16 | D | 1 | Stair S2 E In situ concrete/Large precast concrete E10 Mixing/Casting/Curing in situ concrete 200mm thick ground bearing slab; to base of external stair; including all accessories & fittings required to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Beds thickness 150 - 450mm | 2 | m3 |  | Acid etched reconstructed stone PC step units; 330 x 170 x 1000lg; bedded on concrete; with visibilty inserts to tread and riser | 52 | 226.25
[7 empty] | 8 | 2 | 17 | A | 1 | Formwork to paving; including all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Sides of ground beams and edges of beds plain vertical; height 250 - 500 mm | 8 | m |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 48 | 56.22
[7 empty] | 8 | 2 | 17 | B | 1 | Steps in top surfaces plain vertical; height 250 - 500 mm | 19 | m |  | Risers / Step in top surface; 250-500 | 59 | 31.32
[7 empty] | 8 | 2 | 17 | C | 1 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; all in accordance ; drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Fabric A393 mesh reinforcement | 8 | m2 |  | Mesh reinforcement; A393 | 54 | 18.91
[7 empty] | 8 | 2 | 17 | D | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-004 Sheets horizontal; details tbc | 8 | m2 |  | Sub station louvred ventilation panel; powder coated finish; 1585 x 975; by Sunray Engineering | 43 | 2319.7
[7 empty] | 8 | 2 | 17 | E | 1 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ paving's Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 3 | m3 |  | Granite paving; 250 x 150 x 60; on 50mm sand bed; free issue paving | 51 | 20.38
[7 empty] | 8 | 2 | 18 | A | 1 | Q24 Interlocking brick/block roads/Pavings Biege natural stone drivesetts; supplier: tbc; finish tbc; approx. size 150xrandomx50-100mm; including 30mm thick mortar bedding and all accessories; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Pavings 40mm thick; levels and to falls only; bedding thickness 30mm; to mid landing | 2 | m2 |  | 400mm wide block paving band course; 2 rows of stretcher bond in 300 x 200 x 80 paving blocks; 30mm mortar bed on 400 x 150mm concrete bed | 55 | 56.22
[7 empty] | 8 | 2 | 18 | B | 1 | Treads 250mm wide, additional 55mm overhang with half bullnose edge and 5mm drip line; 40mm thick pver | 20 | m |  | 50mm compressible EPS movement joint filler; 250mm wide between toe and slab/ground beam | 48 | 30.81
[7 empty] | 8 | 2 | 18 | C | 1 | Risers 172mm high; 30mm thick pver | 19 | m |  | Brickwork; HB thick skin of facing brickwork laid against concrete; step riser; PCÂ£450/1000; 2 courses high (160mm) | 52 | 18.91
[7 empty] | 8 | 2 | 18 | D | 1 | Any other item not specified in CSA E In situ concrete/Large precast concrete E10 Mixing/Casting/Curing in situ concrete 200mm thick ground bearing slab; to base of external stair; including all accessories & fittings required to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Beds thickness 150 - 450mm | 4 | m3 |  | Precast slab units; 3895 x 965 x 454-400mm thk; reinforcement 300kg/m3; bedded on shims and mortar | 50 | 2352.47
[7 empty] | 8 | 2 | 18 | E | 1 | Formwork to paving; including all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Sides of ground beams and edges of beds plain vertical; height not exceeding 250mm | 17 | m |  | Granite edging; 60 x 250; concrete bed & haunch; free issue kerb | 48 | 24.4
[7 empty] | 8 | 2 | 19 | A | 1 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; all in accordance ; drawing 2337-S4-010-001, 002, KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-001, 002, 2337-S4-030-004 Fabric A252 mesh reinforcement | 17 | m2 |  | Mesh reinforcement; A252 | 53 | 12.41
[7 empty] | 8 | 2 | 19 | B | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; including laying, lapping and all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024, 2337-S4-030-004 Sheets horizontal; details tbc | 17 | m2 |  | Sub station louvred ventilation panel; powder coated finish; 1585 x 975; by Sunray Engineering | 43 | 2319.7
[7 empty] | 8 | 2 | 19 | C | 1 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ paving's Open grade subgrade (for CBR<2%); including compaction & all necessary accessories to complete the works; refer drawing 2337-S4-010-001, 002 & KYN-CSP-NB-XX-DR-C-9024 Filling to make up levels average thickness exceeding 250mm; obtained off site | 6 | m3 |  | Granite paving; 250 x 150 x 60; on 50mm sand bed; free issue paving | 51 | 20.38
[7 empty] | 8 | 2 | 19 | D | 1 | General pricing point allow for pavement type S7, proposed block paving - non vehicular; as per drawing no. KYN-CSP-NB-XX-DR-C-9024 | 1 | ITEM |  | Granite paving; 900 x 300 x 30; on 50mm sand bed; free issue paving | 43 | 16.63
[7 empty] | 8 | 2 | 19 | E | 1 | allow for front signage | 1 | ITEM |  | Signage post; Geo Fingerpost by Marshalls; 90mm dia pole x 3m high; with 4nr 800 x 100mm wayfinding signs; bolted to 1000 x 1000 x 200 conc footing | 39 | 2534.63
[7 empty] | 8 | 2 | 20 | A | 2 | S278 Works The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available . Footway crossover construction P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; Terram 1000; including laying, lapping and all necessary accessories to complete the works; refer drawing 3639.16A Sheets horizontal; details tbc | 10 | m2 |  | Reinforcement detailing | 44 | 14868
[7 empty] | 8 | 2 | 20 | B | 2 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Granular sub base type 1 to MCHW clause 803; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Filling to make up levels average thickness exceeding 250mm; obtained off site | 2 | m3 |  | B/O extg pavement, exc & C/A. Reinstate 150mm type 1 sub-base & 150mm DBM comprising 30mm surface, 40mm binder & 80mm base | 56 | 76.21
[7 empty] | 8 | 2 | 20 | C | 2 | Q21 In situ concrete roads/pavings Class C 16/20 (ST4 concrete; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Concrete thickness not exceeding 150mm | 2 | m3 |  | B/O extg pavement, exc & C/A. Reinstate 150mm type 1 sub-base & 150mm DBM comprising 30mm surface, 40mm binder & 80mm base | 52 | 76.21
[7 empty] | 8 | 2 | 21 | A | 2 | Fabric reinforcement mesh; 1 no. layer A393 mesh reinforcement top; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Fabric A393 mesh reinforcement | 10 | m2 |  | Mesh reinforcement; A393 | 52 | 18.91
[7 empty] | 8 | 2 | 21 | B | 2 | Q22 Coated macadam/Asphalt roads/pavings AC20 dense bin 40/60 WTR 2 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 60mm thick | 10 | m2 |  | Composite road surfacing comprising 120mm AC32 base course, 60mm AC20 binder course, 40mm AC10 close surface course | 54 | 56.94
[7 empty] | 8 | 2 | 21 | C | 2 | AC10 close surf 100/150 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 40mm thick | 10 | m2 |  | Composite road surfacing comprising 120mm AC32 base course, 60mm AC20 binder course, 40mm AC10 close surface course | 54 | 56.94
[7 empty] | 8 | 2 | 21 | D | 2 | Footway resurfacing Q Paving/Planting/Fencing/Site furniture Q22 Coated macadam/Asphalt roads/pavings AC6 dense surf 100/150 to EN 13108-1; top 25mm to be planed off; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 25mm thick | 174 | m2 |  | Composite footpath surfacing comprising 50mm AC20 binder course, 30mm AC6 surface course | 53 | 28.5
[7 empty] | 8 | 2 | 22 | A | 2 | Carriageway resurfacing P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile; Terram 1000; including laying, lapping and all necessary accessories to complete the works; refer drawing 3639.16A Sheets horizontal; details tbc | 16 | m2 |  | Sub station louvred ventilation panel; powder coated finish; 1585 x 975; by Sunray Engineering | 42 | 2319.7
[7 empty] | 8 | 2 | 22 | B | 2 | Q Paving/Planting/Fencing/Site furniture Q20 Granular sub-bases to roads/ Pavings Granular sub base type 1 to MCHW clause 803; including compaction & all necessary accessories to complete the works; refer drawing 3639.16A Filling to make up levels average thickness exceeding 250mm; obtained off site | 3 | m3 |  | B/O extg pavement, exc & C/A. Reinstate 150mm type 1 sub-base & 150mm DBM comprising 30mm surface, 40mm binder & 80mm base | 56 | 76.21
[7 empty] | 8 | 2 | 22 | C | 2 | Q22 Coated macadam/Asphalt roads/pavings AC20 dense bin 40/60 WTR 2 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 60mm thick | 16 | m2 |  | Composite road surfacing comprising 120mm AC32 base course, 60mm AC20 binder course, 40mm AC10 close surface course | 54 | 56.94
[7 empty] | 8 | 2 | 22 | D | 2 | AC10 close surf 100/150 to BS EN 13108-1; including all necessary accessories to complete the works; refer drawing 3639.16A Roads 40mm thick | 16 | m2 |  | Composite road surfacing comprising 120mm AC32 base course, 60mm AC20 binder course, 40mm AC10 close surface course | 54 | 56.94
[7 empty] | 8 | 2 | 23 | A | 2 | Kerbs Q Paving/Planting/Fencing/Site furniture Q10 Kerbs/Edgings/Channels/Paving accessories Quandrant kerb type Q1; size 305x255mm; including bedding and haunch size 455x300mm; including all associated works & accessories; refer drawing 3639.16A Kerbs size 305x255mm | 1 | m |  | HB1 kerb; 150 x 305; concrete bed & haunch; radius | 59 | 39.3
[7 empty] | 8 | 2 | 23 | B | 2 | Kerb BN25; size 125x255x914mm; laid with 25mm upstand including bedding and haunch ; including all associated works & accessories; refer drawing 3639.22 Kerbs 125x255x914mm | 6 | m |  | Granite kerb; 125 x 250; concrete bed & haunch; free issue kerb | 60 | 30.8
[7 empty] | 8 | 2 | 23 | C | 2 | Kerb type DL; details tbc; laid with 25mm upstand including bedding and haunch ; including all associated works & accessories; refer drawing 3639.22 Kerbs size tbc; type DL | 1 | m |  | Granite kerb; 125 x 250; concrete bed & haunch; free issue kerb | 50 | 30.8
[7 empty] | 8 | 2 | 23 | D | 2 | size tbc; type DR | 1 | m |  | Bed & surround; sand; for duct size: 375 mm dia | 38 | 29.21
[7 empty] | 8 | 2 | 23 | E | 2 | Kerb type DR; details tbc; laid with 25mm upstand including bedding and haunch ; including all associated works & accessories; refer drawing 3639.22 Kerbs size tbc; type EF | 6 | m |  | Granite edging; 60 x 250; concrete bed & haunch; free issue kerb | 52 | 24.4
[7 empty] | 8 | 2 | 23 | F | 2 | General pricing point allow for existing verge made good | 6 | m2 |  | Car charging point; APT Technologies model EV-PM3 with concrete foundation and duct entry; fix only free issue; M&S work by others | 34 | 390.89
[7 empty] | 8 | 2 | 24 | A | 2 | General pricing point allow for residential specificattion carriageway construction | 8 | m2 |  | B/O extg paving, exc & C/A. Reinstate 150mm type 1 sub-base & 150mm DBM footpath | 39 | 75.5
[7 empty] | 8 | 2 | 24 | B | 2 | Relocation for "Courtenay Avenue" road name signboard | 1 | nr |  | Street name plate by G&G Signs Ltd; diag 816.1 inc 2nr 1775 x 40 x 40 galv legs bedded in 400 x 400 conc footings | 35 | 460.26
[7 empty] | 8 | 2 | 24 | C | 2 | Relocation for "Private Road" road name signboard | 1 | nr |  | Street name plate by G&G Signs Ltd; diag 816.1 inc 2nr 1775 x 40 x 40 galv legs bedded in 400 x 400 conc footings | 34 | 460.26
[7 empty] | 8 | 2 | 24 | D | 2 | allow for vertical saw cut to existing carriage wa y | 28 | m |  | Corten steel inset seat with Iroko HW seating slats; inset into 900mm high steel upstands/planters with integral frame | 31 | 1065.13
[7 empty] | 8 | 2 | 24 | E | 2 | allow for vertical saw cut to existing foot way | 14 | m |  | Provide 1m wide temporary footpaths; 40mm DBM surface course; timber edgings; on 150mm 6F2/Exc & C/A on completion | 38 | 66.87
[7 empty] | 8 | 2 | 24 | F | 2 | allow for stripping off existing carriage way | 16 | m2 |  | EO burn off existing roadmarkings; min charge Â£ | 34 | 250
[7 empty] | 8 | 2 | 24 | G | 2 | allow for stripping off existing footway | 179 | m2 |  | EO drain trenches for breaking out existing tarmac footpath surface & reinstating on completion; provisional | 38 | 78.23
[7 empty] | 8 | 3 | 1 | A | 0 | 8.3 SOFT LANDSCAPING 8.3 SOFT LANDSCAPING The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available . Imported topsoil; laying and spreading D Groundwork D20 Excavating and filling Topsoil; filling topsoil system; all in accordance with drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006, specification 2337-SP-004 clause Ss_15_10_30_90 Filling to make up levels average thickness exceeding 0.25m; obtained offsit e | 370 | m3 |  | Rake & level surface of topsoil/fill | 48 | 0.31
[7 empty] | 8 | 3 | 1 | B | 0 | Surface treatments compacting; filling | 641 | m2 |  | Level & compact surface of fill; vertical & battered faces | 48 | 3
[7 empty] | 8 | 3 | 1 | C | 0 | Tree sand; sll in accordance with drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006, 2337-S4-030-008 Filling to make up levels average thickness exceeding 0.25m; obtained offsit e | 22 | m3 |  | Tree pit; 1.2m dia M/H ring x 1.2m dp; filled with topsoil | 47 | 446.39
[7 empty] | 8 | 3 | 1 | D | 0 | Surface treatments compacting; filling | 22 | m2 |  | Level & compact surface of fill; vertical & battered faces | 48 | 3
[7 empty] | 8 | 3 | 9 | F | 0 | Feature raised planters Q Paving/Planting/Fencing/Site furniture Q31 External Planting Raised planter type 3A; bspoke corten metal retaining edge to manufacturer's detail; including concrete foundation, earthwork, geotextile around foundation and all accessories required to complete the works; refer drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006 Plant containers planter height 400mm high above sooil level | 14 | m |  | Corten steel Planterline cube planter; 800 x 800 x 500mm high; bolted to concrete foundation; str | 57 | 1255.58
[7 empty] | 8 | 3 | 10 | A | 1 | Raised planter type 3B; bspoke corten metal retaining edge to manufacturer's detail; including concrete foundation, earthwork, geotextile around foundation and all accessories required to complete the works; refer drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006 Plant containers planter height 600mm high above sooil level | 11 | m |  | Corten steel Planterline cube planter; 800 x 800 x 500mm high; bolted to concrete foundation; str | 59 | 1255.58
[7 empty] | 8 | 3 | 10 | B | 1 | Planters D Groundwork D20 Excavating and filling Topsoil; filling topsoil system; all in accordance with drawing no. 2337-S4-030-007 Filling to make up levels average thickness exceeding 0.25m; obtained offsit e | 5 | m3 |  | Imported granular fill; topsoil; general purpose standard grade; filling to planters | 51 | 90.71
[7 empty] | 8 | 3 | 10 | C | 1 | Leca drainage layer; all in accordance with drawing no. 2337-S4-030-007 Filling to make up levels average thickness not exceeding 0.25m; obtained offsite | 2 | m3 |  | Temporary drain to prevent run off | 45 | 25
[7 empty] | 8 | 3 | 10 | D | 1 | P Building fabric sundries P10 Sundry insulation/proofing work/fire stops Geotextile filter membrane; including all associated works as per drawing no. 2337-S4-030-007 Sheets plain areas; horizontal | 27 | m2 |  | Sub station louvred ventilation panel; powder coated finish; 1585 x 975; by Sunray Engineering | 44 | 2319.7
[7 empty] | 8 | 3 | 10 | E | 1 | plain areas; vertical | 33 | m2 |  | Level & compact surface of fill; vertical & battered faces | 42 | 3
[7 empty] | 8 | 3 | 11 | A | 1 | Q Paving/Planting/Fencing/Site furniture Q31 External Planting Planter pots of varying sizes and type; including irrigation & drainage outlet at base; details tbc; including soil fill, geotextile membrane, Leca drainage layer at base and all other accessories required to complete the works; refer drawing no. 2337-S4-020-001, 002, 2337-S4-030-005, 006 Plant containers type E3c; dia 920mm, height 690mm | 2 | nr |  | Corten steel Planterline cube planter; 800 x 800 x 500mm high; bolted to concrete foundation; str | 49 | 1255.58
[7 empty] | 8 | 3 | 11 | B | 1 | type 3f, pot on wheel; dia 1000mm, height tbc | 3 | nr |  | Cast in roof drainage outlet; flush soffit, Caroflow 100/VT 100mm dia with threaded adaptor | 41 | 175.88
[7 empty] | 8 | 3 | 11 | C | 1 | type 3g; size 400x400mm, height tbc | 3 | nr |  | D400 cover & frame; 600 x 600/450; inc 3 courses of brickwork | 42 | 231.27
[7 empty] | 8 | 3 | 11 | D | 1 | type 3h; size 700x700mm, height tbc | 3 | nr |  | PC copings; triangular 700 x 700; bedded on cm | 45 | 326.47
[7 empty] | 8 | 3 | 11 | E | 1 | type 3i; size 2580x470mm, height tbc | 1 | nr |  | 3 pile (600dia); 2700x2500x1400; Exc, C/A, EWS, W/S, L&C, 50 blinding, C40 conc, fwk, 120kg/m3 rebar, cut down piles | 41 | 5823.54
[7 empty] | 8 | 3 | 11 | F | 1 | type 3i; size 3500x475mm, height tbc | 1 | nr |  | Compressible filler; 300 thk x 500mm wide | 41 | 27.6
[7 empty] | 8 | 3 | 11 | G | 1 | type 3j; size 500x500mm, height tbc | 4 | nr |  | Compressible filler; 300 thk x 500mm wide | 43 | 27.6
[7 empty] | 8 | 3 | 11 | H | 1 | type 3k; size 975x400mm, height tbc | 1 | nr |  | Cast in sleeve with waterstop puddle flange; 975mm dia thro' wall ne 500mm thk | 40 | 135.36