## Comparisons
Trade: | [7 empty] | +Groudnworks Addendum | [8 empty] | Matched Description | Confidence | Matched Rate | Unit
Date: | [7 empty] | 05/06/2025 - 15:19
Current Project: | [7 empty] | 25005 - KYN Highgate
GA
Completion Total | [14 empty] | 0/25 Items
Bill Total | [14 empty] | 0
Lump Sums Total | [14 empty] | 0
Discount Total | [14 empty] | 0
Adjustment Total | [14 empty] | 0
Attendance Total | [14 empty] | 0
Gross Total (inc Disc, inc Adj, inc Att) | [14 empty] | 0
Provisional Total | [14 empty] | 0
Plugged Total | [14 empty] | 0
Subcontractor Note
Current Page Total | [14 empty] | 0
F | l | a | g | s | - | - | Bill | Section | Page | Ref | Original Ref | Description | Quantity | Unit | Rate | Extension
[7 empty] | 2 | 2 | 2 | G | 0 | Concrete surround with flexible joint at each pipe; refer drawings and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Beds and surrounds to 100mm dia pipe; size 500mm wide x 500mm high | 17 | m | 0
[7 empty] | 2 | 2 | 2 | H | 0 | to 100mm dia pipe; size 500mm wide x 500mm high (cavity drain) | 117 | m | 0
[15 empty] | 2/2/2 | 0
[7 empty] | 2 | 2 | 4 | C | 0 | Surface pump chamber; with required storage volume 10m3 below lowest invert level; dual vortex pumps; discharge rate 5l/s; cable duct connection, fitted into tank to suit site requirements; davit socket (optional) supplied loose; access cover and frame supplied loose; with concrete surround; pipe coupling (optional PIMS supply); vent pipe; level control floats; pumps on self locating quick release couplings; sockets for sewer connections. fitted to tank to suit site requirements; 5 nominal internal chamber depths 2000-4500 (500mm increments); 1800mm internal diameter; complete including excavation, backfilling, disposal, and dewatering if any, contractor design earthwork support and all as necessary works; refer detail drawing KYN-CSP-NB-XX-DR-D-9013 and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Pump chamber depth to invert 1.58m, size 2300mm dai x 4000mm long, discharge rate 7ltr/s,cover grade C250, cover type solid, cover size 600mm x 600mm; ref.SMH-23 | 1 | nr | 0
[15 empty] | 2/2/4 | 0
[7 empty] | 2 | 3 | 2 | M | 0 | Concrete surround with flexible joint at each pipe; refer drawings and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Beds and surrounds to 100mm dia pipe; size 500mm wide x 500mm high | 155 | m | 0
[7 empty] | 2 | 3 | 2 | N | 0 | to 150mm dia pipe; size 550mm wide x 550mm high | 33 | m | 0
[15 empty] | 2/3/2 | 0
[7 empty] | 2 | 4 | 4 | D | 0 | Basement liner wall E In Situ Concrete / Large Precast Concrete E10 Mixing/Casting/Curing in situ concrete Reinforced concrete construction; concrete designation C32/40; design chemical class - DC-3z; consistence class - S3; chloride class - CL 0.40; in accordance with BS 8500-1; including all accessories to complete the work; all in accordance with concrete specification; refer drawing no. KYN-CSP-NB-FO-DR-S-3002; refer general notes. KYN-CSP-NB-XX-DR-S-1001, specification KYH-CSP-NB-XX-RP-S-0006 clause E10/132 Walls thickness 150 - 450 mm; to liner walls | 274 | m3 | 0
[15 empty] | 2/4/4 | 0
[7 empty] | 8 | 6 | 3 | B | 0 | E In situ concrete/Large precast concrete E10 In-situ concrete construction generally Concrete to top slab of atenuation tank; grade C30; including all accessories required to complete the works; refer drawing no. KYN-CSP-NB-XX-DR-D-9013 Beds thickness not exceeding 150mm; 150mm thick; including all accessories required to complete the works; refer drawing no. KYN-CSP-NB-XX-DR-D-9013 | 25 | m3 | 0
[15 empty] | 8/6/3 | 0
[7 empty] | 8 | 6 | 4 | D | 0 | Type D fill material; free from clay lumps; retained on a 63mm sieve; stone retained on a 20mm sieve; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness exceeding 0.25m | 79 | m3 | 0
[7 empty] | 8 | 6 | 4 | D | 0 | Suitable fill; type 1 granular material; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness not exceeding 0.25m | 13 | m3 | 0
[7 empty] | 8 | 6 | 4 | D | 0 | average thickness exceeding 0.25m | 131 | m3 | 0
[15 empty] | 8/6/4 | 0
[7 empty] | 8 | 7 | 1 | A | 0 | D Groundwork D20 Excavating and filling Type D fill material; free from clay lumps; retained on a 63mm sieve; stone retained on a 20mm sieve; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness exceeding 0.25m | 19 | m3 | 0
[7 empty] | 8 | 7 | 1 | A | 0 | Suitable fill; type 1 granular material; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness exceeding 0.25m | 2 | m3 | 0
[7 empty] | 8 | 7 | 1 | A | 0 | average thickness exceeding 0.25m | 51 | m3 | 0
[15 empty] | 8/7/1 | 0
[7 empty] | 8 | 8 | 1 | A | 0 | 8.7 EXTERNAL SERVICES 8.7 EXTERNAL SERVICES The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available HV SERVICES Electrical underground duct at ground level - commencement level of excavations as formation level P Building fabric sundries P30 Trenches/Pipeways/Pits for buried engineering services Excavating trenches for HV services duct; including for; dewatering if any; providing contractor designed earthwork support and ventilation for deep drainage; backfilling trench above bed and surround with general backfill; disposing of surplus excavated material off/on site and levelling in the areas to be filled; refer drawings and specification TBC Excavating trenches services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth not exceeding 0.25m | 8 | m | 0
[7 empty] | 8 | 8 | 1 | B | 0 | services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth 0.25mm to 0.50mm | 3 | m | 0
[7 empty] | 8 | 8 | 1 | C | 0 | services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth 0.50mm to 0.75mm | 1 | m | 0
[7 empty] | 8 | 8 | 1 | D | 0 | services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth 0.75mm to 1.0mm | 2 | m | 0
[15 empty] | 8/8/1 | 0
[7 empty] | 8 | 8 | 2 | F | 0 | Class S; granular bed and surround for ducts; complete including all necessary works; refer drawings and specification TBC Beds and surrounds 650mm (W) x 425mm (H); 2 x 125mm dia HV duct | 13 | m | 0
[7 empty] | 8 | 8 | 2 | G | 0 | Underground HV ducts; material: steel pipes to BS EN 10255; satisfactory pipe joints; manufacturer: TBC; including all necessary related works; refer drawings and specification TBC Underground ducts for engineering services 125mm dia HV duct | 26 | m | 0
[15 empty] | 8/8/2 | 0
[7 empty] | 8 | 9 | 1 | A | 0 | 8.7 EXTERNAL SERVICES 8.7 EXTERNAL SERVICES The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available LV SERVICES Electrical underground duct at ground level - commencement level of excavations as formation level P Building fabric sundries P30 Trenches/Pipeways/Pits for buried engineering services Excavating trenches for Electrical services duct; including for; dewatering if any; providing contractor designed earthwork support and ventilation for deep drainage; backfilling trench above bed and surround with general backfill; disposing of surplus excavated material off/on site and levelling in the areas to be filled; refer drawings and specification TBC Excavating trenches services not exceeding 200mm nominal size; nominal dia of Electrical duct 50mm dia; average depth not exceeding 0.25m | 58 | m | 0
[7 empty] | 8 | 9 | 1 | A | 0 | services not exceeding 200mm nominal size; nominal dia of Electrical duct 50mm dia; average depth 0.25mm to 0.50mm | 8 | m | 0
[7 empty] | 8 | 9 | 1 | A | 0 | Class S; granular bed and surround for ducts; complete including all necessary works; refer drawings and specification TBC Beds and surrounds 350mm (W) x 350mm (H); 50mm dia Electrical duct | 66 | m | 0
[7 empty] | 8 | 9 | 1 | A | 0 | Underground Electrical smooth bore ducts; material: HDPE black twin wall; satisfactory pipe joints; manufacturer: TBC; including all related necessary works; refer drawings and specification TBC Underground ducts for engineering services 50mm dia LV duct | 66 | m | 0
[7 empty] | 8 | 9 | 1 | B | 0 | LV chamber precast concrete; details TBC; opening to suit access covers; draw cords; cable installation requirements, bending, radii, etc; including excavation, disposal, dewatering and contractor designed earthwork support; refer drawings and specification TBC Chamber size; 300mm (L) x 300mm (W) | 10 | nr | 0
[15 empty] | 8/9/1 | 0
[7 empty] | 8 | 10 | 2 | F | 0 | Underground comms ducts; material: steel pipes to BS EN 10255; satisfactory pipe joints; manufacturer: TBC; including all necessary related works; refer drawings and specification TBC Underground ducts for engineering services 90mm dia comms duct | 31 | m | 0
[15 empty] | 8/10/2 | 0

## Lump Sums
Lump Sums
Contact
GA | Name | Quantity | Unit | Rate | Total | Matched Description | Confidence

## Attendances & Adjustments
|  | Matched Description | Confidence | Matched Rate | Unit
Adjustments
GA
Adjustment | 0%
Allowance | 0%
Attendances
GA
Attendance | 0

## Subcontractor Notes
Trade: | [7 empty] | +Groudnworks Addendum | [7 empty] | Matched Description | Confidence | Matched Rate | Unit
Date: | [7 empty] | 05/06/2025 - 15:19
Current Project: | [7 empty] | 25005 - KYN Highgate
GA
Subcontractor Note
F | l | a | g | s | - | - | Bill | Section | Page | Ref | Original Ref | Description | Quantity | Unit | Rate Note
[7 empty] | 2 | 2 | 2 | G | 0 | Concrete surround with flexible joint at each pipe; refer drawings and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Beds and surrounds to 100mm dia pipe; size 500mm wide x 500mm high | 17 | m |  | Bed & surround; concrete; for duct size: 450 mm dia | 57 | 31.52
[7 empty] | 2 | 2 | 2 | H | 0 | to 100mm dia pipe; size 500mm wide x 500mm high (cavity drain) | 117 | m |  | Pipes in trenches; MDPE; Barrier pressurised main; size: 100mm dia pipe | 61 | 95.71
[7 empty] | 2 | 2 | 4 | C | 0 | Surface pump chamber; with required storage volume 10m3 below lowest invert level; dual vortex pumps; discharge rate 5l/s; cable duct connection, fitted into tank to suit site requirements; davit socket (optional) supplied loose; access cover and frame supplied loose; with concrete surround; pipe coupling (optional PIMS supply); vent pipe; level control floats; pumps on self locating quick release couplings; sockets for sewer connections. fitted to tank to suit site requirements; 5 nominal internal chamber depths 2000-4500 (500mm increments); 1800mm internal diameter; complete including excavation, backfilling, disposal, and dewatering if any, contractor design earthwork support and all as necessary works; refer detail drawing KYN-CSP-NB-XX-DR-D-9013 and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Pump chamber depth to invert 1.58m, size 2300mm dai x 4000mm long, discharge rate 7ltr/s,cover grade C250, cover type solid, cover size 600mm x 600mm; ref.SMH-23 | 1 | nr |  | Excavate trenches for multiple ducts; 1850mm (10) wide; backfill with conc; dispose of surplus off site; depth to trench invert: 0.5 - 0.75 m | 52 | 215.75
[7 empty] | 2 | 3 | 2 | M | 0 | Concrete surround with flexible joint at each pipe; refer drawings and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Beds and surrounds to 100mm dia pipe; size 500mm wide x 500mm high | 155 | m |  | Bed & surround; concrete; for duct size: 450 mm dia | 57 | 31.52
[7 empty] | 2 | 3 | 2 | N | 0 | to 150mm dia pipe; size 550mm wide x 550mm high | 33 | m |  | Pipes in trenches; MDPE; pressurised main; size: 50mm dia pipe | 63 | 14.85
[7 empty] | 2 | 4 | 4 | D | 0 | Basement liner wall E In Situ Concrete / Large Precast Concrete E10 Mixing/Casting/Curing in situ concrete Reinforced concrete construction; concrete designation C32/40; design chemical class - DC-3z; consistence class - S3; chloride class - CL 0.40; in accordance with BS 8500-1; including all accessories to complete the work; all in accordance with concrete specification; refer drawing no. KYN-CSP-NB-FO-DR-S-3002; refer general notes. KYN-CSP-NB-XX-DR-S-1001, specification KYH-CSP-NB-XX-RP-S-0006 clause E10/132 Walls thickness 150 - 450 mm; to liner walls | 274 | m3 |  | 250mm thick precast concrete twin walls [65-120-65]; 3.150m high; concrete infill | 53 | 847.73
[7 empty] | 8 | 6 | 3 | B | 0 | E In situ concrete/Large precast concrete E10 In-situ concrete construction generally Concrete to top slab of atenuation tank; grade C30; including all accessories required to complete the works; refer drawing no. KYN-CSP-NB-XX-DR-D-9013 Beds thickness not exceeding 150mm; 150mm thick; including all accessories required to complete the works; refer drawing no. KYN-CSP-NB-XX-DR-D-9013 | 25 | m3 |  | Concrete bed; 300thk C40; 2 layers A252; 150thk 6F2; exc & c/a; B/O & dispose on completion | 54 | 158.22
[7 empty] | 8 | 6 | 4 | D | 0 | Type D fill material; free from clay lumps; retained on a 63mm sieve; stone retained on a 20mm sieve; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness exceeding 0.25m | 79 | m3 |  | 1500mm dia auger pile; empty bore and granular fill (bore, fill, move rig, mod & demob, design) | 51 | 251.63
[7 empty] | 8 | 6 | 4 | D | 0 | Suitable fill; type 1 granular material; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness not exceeding 0.25m | 13 | m3 |  | Imported granular fill; type 1 (c/c); ne 250 thk | 54 | 52.09
[7 empty] | 8 | 6 | 4 | D | 0 | average thickness exceeding 0.25m | 131 | m3 |  | Gas membrane; Visqueen Radon Barrier; turn up at edges ne 250mm | 48 | 1.77
[7 empty] | 8 | 7 | 1 | A | 0 | D Groundwork D20 Excavating and filling Type D fill material; free from clay lumps; retained on a 63mm sieve; stone retained on a 20mm sieve; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness exceeding 0.25m | 19 | m3 |  | Excavate trenches for multiple ducts; 2400mm wide; backfill with 6F2; dispose of surplus off site; depth to trench invert: 1.25 - 1.5 m | 51 | 338.56
[7 empty] | 8 | 7 | 1 | A | 0 | Suitable fill; type 1 granular material; refer drawings KYN-CSP-NB-XX-DR-D-9012, and specification KYH-CSP-NB-XX-RP-S-0006 civil & structural specification Filling to excavations average thickness exceeding 0.25m | 2 | m3 |  | Imported granular fill; type 1 (c/c); ne 250 thk | 54 | 52.09
[7 empty] | 8 | 7 | 1 | A | 0 | average thickness exceeding 0.25m | 51 | m3 |  | Gas membrane; Visqueen Radon Barrier; turn up at edges ne 250mm | 48 | 1.77
[7 empty] | 8 | 8 | 1 | A | 0 | 8.7 EXTERNAL SERVICES 8.7 EXTERNAL SERVICES The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available HV SERVICES Electrical underground duct at ground level - commencement level of excavations as formation level P Building fabric sundries P30 Trenches/Pipeways/Pits for buried engineering services Excavating trenches for HV services duct; including for; dewatering if any; providing contractor designed earthwork support and ventilation for deep drainage; backfilling trench above bed and surround with general backfill; disposing of surplus excavated material off/on site and levelling in the areas to be filled; refer drawings and specification TBC Excavating trenches services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth not exceeding 0.25m | 8 | m |  | Excavate trenches for multiple ducts; 1300mm (7) wide; backfill with 6F2; dispose of surplus off site; depth to trench invert: 1.75 - 2.0 m | 56 | 259.48
[7 empty] | 8 | 8 | 1 | B | 0 | services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth 0.25mm to 0.50mm | 3 | m |  | Ducts in trenches; UPVC; size: 200mm dia | 61 | 26.75
[7 empty] | 8 | 8 | 1 | C | 0 | services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth 0.50mm to 0.75mm | 1 | m |  | Ducts in trenches; UPVC; size: 200mm dia | 61 | 26.75
[7 empty] | 8 | 8 | 1 | D | 0 | services not exceeding 200mm nominal size; nominal dia of HV duct 2 x 125mm dia; average depth 0.75mm to 1.0mm | 2 | m |  | Excavate trenches for ducts ne 200mm dia; backfill with SEM; dispose of surplus off site; depth to invert: 1.75 - 2.0 m | 61 | 78.84
[7 empty] | 8 | 8 | 2 | F | 0 | Class S; granular bed and surround for ducts; complete including all necessary works; refer drawings and specification TBC Beds and surrounds 650mm (W) x 425mm (H); 2 x 125mm dia HV duct | 13 | m |  | Bed & surround; sand; for duct size: 125 mm dia | 58 | 15.24
[7 empty] | 8 | 8 | 2 | G | 0 | Underground HV ducts; material: steel pipes to BS EN 10255; satisfactory pipe joints; manufacturer: TBC; including all necessary related works; refer drawings and specification TBC Underground ducts for engineering services 125mm dia HV duct | 26 | m |  | Ducts in trenches; UPVC; size: 125mm dia; black twin wall rigiduct | 55 | 13.19
[7 empty] | 8 | 9 | 1 | A | 0 | 8.7 EXTERNAL SERVICES 8.7 EXTERNAL SERVICES The following works have been measured in accordance with SMM7. The only departures from SMM7 are in connection with various pricing points where sufficient details are not available LV SERVICES Electrical underground duct at ground level - commencement level of excavations as formation level P Building fabric sundries P30 Trenches/Pipeways/Pits for buried engineering services Excavating trenches for Electrical services duct; including for; dewatering if any; providing contractor designed earthwork support and ventilation for deep drainage; backfilling trench above bed and surround with general backfill; disposing of surplus excavated material off/on site and levelling in the areas to be filled; refer drawings and specification TBC Excavating trenches services not exceeding 200mm nominal size; nominal dia of Electrical duct 50mm dia; average depth not exceeding 0.25m | 58 | m |  | Excavate trenches for multiple ducts; 2400mm wide; backfill with conc; dispose of surplus off site; depth to trench invert: 1.25 - 1.5 m | 55 | 676.22
[7 empty] | 8 | 9 | 1 | A | 0 | services not exceeding 200mm nominal size; nominal dia of Electrical duct 50mm dia; average depth 0.25mm to 0.50mm | 8 | m |  | Excavate trenches for ducts ne 200mm dia; backfill with SEM; dispose of surplus off site; depth to invert: 1.25 - 1.5 m | 59 | 52.77
[7 empty] | 8 | 9 | 1 | A | 0 | Class S; granular bed and surround for ducts; complete including all necessary works; refer drawings and specification TBC Beds and surrounds 350mm (W) x 350mm (H); 50mm dia Electrical duct | 66 | m |  | Bed & surround; concrete; for duct size: 525 mm dia | 57 | 36.33
[7 empty] | 8 | 9 | 1 | A | 0 | Underground Electrical smooth bore ducts; material: HDPE black twin wall; satisfactory pipe joints; manufacturer: TBC; including all related necessary works; refer drawings and specification TBC Underground ducts for engineering services 50mm dia LV duct | 66 | m |  | Ducts in trenches; UPVC; size: 125mm dia; black twin wall rigiduct | 54 | 13.19
[7 empty] | 8 | 9 | 1 | B | 0 | LV chamber precast concrete; details TBC; opening to suit access covers; draw cords; cable installation requirements, bending, radii, etc; including excavation, disposal, dewatering and contractor designed earthwork support; refer drawings and specification TBC Chamber size; 300mm (L) x 300mm (W) | 10 | nr |  | extra over allowance for openings; 250mm thick precast concrete twin walls [65-120-65]; approx. 1000mm x 2400mm high | 54 | 295
[7 empty] | 8 | 10 | 2 | F | 0 | Underground comms ducts; material: steel pipes to BS EN 10255; satisfactory pipe joints; manufacturer: TBC; including all necessary related works; refer drawings and specification TBC Underground ducts for engineering services 90mm dia comms duct | 31 | m |  | Ducts in trenches; UPVC; size: 90mm dia | 55 | 8.15